Petition No. 1192 of 2017

BEFORE

THE UTTAR PRADESH ELECTRICITY REGULATORY COMMISSION

LUCKNOW

Date of Order:  01.06.2017

PRESENT:

- Hon’ble Sri Desh Deepak Verma, Chairman

- Hon’ble Sri S.K. Agarwal, Member

IN THE MATTER OF: 	For seeking permission to establish 5 MW rooftop solar plant under RSPV Regulations.

AND

IN THE MATTER OF

Sr. GM,

Kanpur Ordnance Factory (OFC),

Kalpi Road,

Kanpur-208009

--------------- Petitioner

AND

Chief Engineer (PPA),

U.P. Power Corporation Ltd.,

14th Floor, Shakti Bhawan,

14-Ashok Marg,

Lucknow – 226001

Director

U.P. New & Renewable Energy Development Agency,

Vibhuti Khand, Gomti Nagar,

Lucknow

--------------- Respondents

Following were presents:

- Sri V.P. Srivastava, CE PPA

- Sri Ravi Kumar Singh, Jt. G.M., OFC

- Sri C.B.S. Yadav, Works Manager, OFC

- Smt. Namrta Karla, PO, UPNEDA

- Sri Atul Shankar, UPNEDA

ORDER

(Date of Hearing 03.05.2017 & 15.05.2017)

- The petition is filed by Ordnance Factory Kanpur to seek relaxation in UPERC (Rooftop Solar PV Grid interactive systems gross/ net metering) Regulations, 2015 so as to establish 5 MW solar plant under the net metering mechanism at its premises. It is pertinent to mention that under the prevailing RSPV Regulations the maximum capacity for installation of rooftop solar system has been capped at 1 MW. But the petitioner has sought relaxation in this limit under “power to relax” clause of the Regulations.

- The petitioner has contracted demand of 22 MVA with KESCO and is supplied through two dedicated 132 KV feeders. Further, it has already got the approval from UPPTCL to enhance its contracted demand to 47 MVA. At present, average monthly consumption of the petitioner is to the tune of 60-70 Lakh units.

- It is submitted that average and maximum load of the petitioner is much higher than 5 MW but during off-days but for some sporadic instances the load may go below 5 MW and it is only in this condition the excess generation from solar plant shall be fed to the grid.

- Considering the fact the matter pertains to UPPCL and UPNEDA also, the Commission had suo-moto decided to implead both of them in the case.

- In the first hearing held on 03.05.2017, the Respondents UPPCL and UPNEDA requested for the copy of the petition and sought time to make their submission in the matter. The Commission directed the petitioner to provide copy of the petition to both the respondents and directed the respondents to file their submission within 10 days.

- The petitioner submitted the order of Odisha Electricity Regulatory Commission dated 19.08.2016 in the matter of “ net metering/ bi-directional metering and their connectivity with respect to solar project”.  Para 1(vi)(c) of this orders states as follows:

“ there is no cap on the capacity of solar installation at a particular consumer level as long as it is within the limit of the connected load/75% of the transformer capacity. The earlier restriction of 1 MW capacity at a single location is removed.”

- UPNEDA pleaded in favor of the petitioner and cited that advisor (NSM) to MNRE vide its letter dated 17.04.2017 has also requested UPNEDA to facilitate the petitioner for setting up of instant project.

- UPPCL submitted that prima facie it has no objection to installation of 5 MW rooftop systems under RSPV Regulations but technical feasibility needs to be established while installing the system.

- The Commission observed that due to their inherent nature of job many Government installations like Defence happen to possess vast parcel of land. In these cases, there exists considerable potential for installing solar power systems which can be harnessed to meet local in-house demand. Further, also considering the fact that in instant case, the petitioner has connection through dedicated transmission system of 132 KV, capping limit of 1 MW on the rooftop solar system, which is well below its (sought) contracted demand of 47 MVA, may be relaxed.

- Considering the above request of the petitioner and UPNEDA’s support to their case, the Commission decides to invoke its “power to relax” under clause 16 of RSPV Regulations and relaxes the maximum limit of 1 MW on setting up solar plants under RSPV Regulations and allows the petitioner to install 5 MW rooftop solar system under RSPV Regulations subject to confirmation of feasibility by UPPCL/UPPTCL.

- The petition is disposed of.

(S.K. Agarwal)    				     (Desh Deepak Verma)

Member				               	    Chairman

Place:  Lucknow

Dated:  01.06.2017